SECTION 05 31 13

STEEL FLOOR DECKING

Note to specifier: This is a sample specification and should be revised to meet project requirements.

PART 1 – GENERAL

1.01	RELATED DOCUMENTS

- Drawings, Conditions of the Contract (including General, Supplementary, and Special Conditions), Division 1 Specification Sections and all other Contract Documents apply to work of this Section.

1.02	WORK INCLUDED

- Extent of steel deck and shear connectors is indicated on the Drawings, including basic layout and type of steel deck units required.

- Provide all labor, materials, equipment and services, and perform all operations required for complete furnishing, fabrication and installation of all steel deck and shear connectors and related work as indicated on the Drawings, specified in this Section and required by job conditions.

- The work shall include, but not be limited to the following:

1.	Steel roof, floor and form deck.

2.	Pour stops around the building perimeter and at all openings, end closures, closure plates around all columns and work of other trades and any other accessories required.

3.	Saddles, valley plates and sump pans.

4.	Deck supports not shown or specified under other Sections, but necessary for the proper support of deck and applied loads.

5.	Shoring of deck where shown in the Drawings and where required to properly support applied loads and/or maintain uniform concrete slab thickness and maintain specified floor finish tolerances.

6.	Cutting and forming of holes and openings through steel deck, including the reinforcing of deck to safely support both temporary and permanent construction.

7.	Hanger tabs and other vertical supports for ceilings and other lightweight devices.

8.	Field-applied shear connectors.

9.	Field-applied deformed anchor bars stud welded to structural steel.

10.	Touch-up painting in the field.

11.	Erection drawings, shop drawings and samples.

12.	Protection of work of this Section.

13.	Protection of other work from other activities under this Section.

14.	Submittals.

15.	Provisions for other work.

16.	All other work shown in the Drawings, specified in this Section or required to make the work complete.

1.03	RELATED WORK SPECIFIED ELSEWHERE

A.	Submittal Procedures - Section 01 33 00

B.	Cast-In-Place Concrete - Section 03 30 00

C.	Masonry - Division 04 Sections

D.	Structural Steel Framing- Section 05 12 00

E.	Steel Joist Framing - Section 05 21 00

F.	Cold-Formed Metal Framing - Section 05 40 00

G.	Metal Fabrications - Section 05 50 00

H.	Applied Fireproofing - Section 07 81 00

I.	Firestopping - Section 07 84 00

1.04	CODES AND STANDARDS

Work of this Section shall conform to all applicable national, provincial and local laws, regulations and building codes. The following codes, specifications and standards, where more severe, shall apply to the work.  Where conflicts among codes, standards and specifications exist, the one having the most stringent requirements shall govern.

A.	American Society for Testing and Materials (ASTM):

1.	ASTM A611 - Steel, Cold Rolled Sheet, Carbon, Structural.

2.	ASTM A653/A 653M - Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process

3.	ASTM A36 – Standard Specification for Structural Steel

B.	Canadian Standards Association (CSA):

1.	CAN/CSA-S136 North American Specification for the Design of Cold-Formed Steel Structural Members

- CSA W47.1 Certification of Companies for Fusion Welding of Steel

- CSA W59 Welded Steel Construction

C.	Canadian Institute of Steel Construction (CISC)

1.	Steel Construction Manual

D.	Steel Deck Institute (SDI):

- SDI - Design Manual for Composite Decks, Form Decks, Roof Decks, SDI No. 30

- SDI Diaphragm Design Manual, 3nd Edition, SDI No. DDM03 and Appendix VI

- SDI Composite Steel Deck Design Handbook, SDI No. CDD2

- SDI Standard Practice Details, SDI No. SPD2

E.	Factory Mutual (FM):

1.	Approval Guide Fire Protection.

F.	Canadian Sheet Steel Building Institute (CSSBI)

- CSSBI 12M Standard for Composite Steel Deck

2.	CSSBI B13 Design of Steel Deck Diaphragms

1.05	SUBMITTALS:

A.	Product Data and Samples: Submit manufacturer's specifications, catalogs and installation instructions. Include laboratory test reports, manufacturer's certifications and other data to show compliance with the Drawings, Specifications and standard specifications.  When requested, submit the following samples to the Engineer for acceptance prior to the start of any work.

1.	One 2 foot long section of each type of steel deck.

2.	One shear connector of each type.

3.	Other samples where requested by the Engineer.

B.	Certifications:  Submit certifications for mill tests, mechanical fasteners, shear connectors, deformed anchor bars, and galvanizing.

C.	Deviations:  Requests for deviations from the Drawings or Specifications shall be submitted on Contractor's letterhead.  Acceptance of shop drawings including deviations not detected during shop drawing review will not relieve Contractor from responsibility to conform strictly to the Contract Documents.  Deviations will be allowed only where permitted by the Engineer in writing.  Proposed deviations must be accompanied by documented and physical evidence that will establish that quality of proposed deviation equals or exceed the quality specified.

D.	Shop Drawings: Submit structural shop drawings to the Engineer for acceptance in accordance with the requirements of the Contract Documents.

1.	Shop drawings shall be prepared by competent engineering personnel under the supervision of an experienced registered Professional Engineer.

2.	Submit shop drawings to the Engineer in coordinated packages so that all required information is in hand at time of review.  Prior to resubmission of shop drawings, all changes from prior issue shall be clearly circled and identified.  Drawings that are resubmitted without changes circled and identified will not be reviewed. Do not fabricate before shop drawings have been reviewed and returned to the Contractor marked either "No Exceptions Taken" or "Make Corrections Noted" only.

3.	Shop drawings shall include all steel deck work, fastener schedule, shear connectors and deformed anchor bars and shall be accurately dimensioned.  Detail to accommodate Contractor's field measurements of supporting and adjoining construction.

4.	Prepare erection details of steel deck and for field applied shear connectors and anchor bars. Clearly show the size and location of each steel deck system.  Show shear connector layout and details.  The Contractor shall address erection procedures, incremental construction loads and service loads.  Special methods and provisions may be required to avoid overstress and excessive deformations caused by these forces.

5.	Submit for review and acceptance fieldwork drawings depicting all fieldwork required to accommodate field conditions.

6.	Contractor shall coordinate and cross check for accuracy, completeness and correct relationship of the work of other Sections, each shop drawing prepared for the work of this Section, including each shop drawing prepared by accepted subcontractors.  Engineer's review of shop drawings does not relieve Contractor of these responsibilities.

7.	Indicate gauge, grade of steel and galvanizing for each piece.

8.	Indicate welds and nondestructive tests by using symbols conforming to CSA W59

9.	Show and dimension holes through deck and other work required for work of other Sections. Provide fieldwork drawings for holes not shown in shop drawings.

1.06	INSPECTION AND TESTING:

A.	General:  Owner will engage and pay for the services of an independent Testing Agency acceptable to the Engineer.

1.	Contractor shall be responsible for providing the Testing Agency and Engineer with proper notice of the initiation of each phase and portion of work requiring testing or inspection.  Written notice of commencement date shall be provided at least 5 working days prior to the start of work.  Subsequently, Contractor shall give a minimum of 24 hours verbal notice of work, or completion of work as applicable, requiring inspection and/or testing.  Provide Testing Agency personnel with convenient and safe access to the work and all reasonable assistance necessary to permit effective inspection and testing work.

2.	Contractor shall furnish Testing Agency with one copy of each accepted shop drawing bearing the Engineer's review stamp.

3.	Testing Agency may inspect and test materials and work at any time before, during or after installation.  Deficient or incomplete work or materials shall be corrected or replaced, as determined by the Engineer, without additional costs or delays to the Owner.

4.	The Testing Agency shall report directly to the Owner and Engineer the results of all testing and inspection by means of daily written reports.  When any test or inspection reveals deficient or non-conforming work, Testing Agency shall notify Owner and Engineer immediately by means of a written report specially and clearly marked and identified to show deficient areas or work.

5.	Performance or waiving of inspection, testing or surveillance by Testing Agency for a given portion of the work will not relieve Contractor from responsibility to conform strictly to the requirements of the Contract Documents.

6.	Where additional tests are deemed necessary by Engineer due to failure to pass tests, the cost of additional testing will be deducted from payments to Contractor.

7.	If, due to errors by the Contractor or failure to perform his work in accordance with the Contract Documents, the Engineer must perform additional design or drafting work or review proposed solutions, the Contractor shall, through the Owner, reimburse the Engineer in accordance with the Engineer's current fee schedule, plus out of pocket expenses incurred.

B.	Deck:  Field inspection of deck shall include verification of correct size, type and gauge, inspection of fasteners, sidelap connectors and verification of correct installation in accordance with Contract Documents and manufacturer instructions.  Power regulation guides shall be used prior to final direct fastening of mechanical fasteners to properly gauge the fastening system to the base material thickness and hardness.

C.	Shear Connectors:  Field inspection of shear connectors and deformed anchor bars shall include verification of correct number, size, length, spacing, arrangement and welding or fastening technique. Inspection of stud welding shall be in accordance with CSA W59.  Inspection of mechanical shear connectors shall be in accordance with manufacturer instructions.

1.07	QUALITY ASSURANCE:

A.	General:  Contractor shall examine all Contract Documents and note any discrepancies and special construction problems requiring close coordination and exact time schedules; assume responsibility of same and administer action such that construction may proceed properly without delay.

1.	Contractor shall perform quality control functions required to achieve, and to document that, work conforms to the Contract Documents.  Provide access to Contractor's quality control documents and reports upon request of Owner, Engineer or Testing Agency.

2.	Contractor shall maintain sufficient office, field engineering, and field supervision staff to assure that all data and layout drawings for work of other Sections is transmitted to detailers to allow proper detailing and to assure proper execution of the work in the field.  Provide sufficient qualified supervision, field and shop verification, and cross-checking efforts to assure that all work conforms to the Contract Documents.  Coordinate and schedule the work of this Section with the work of other Sections of this Specification.

3.	Contractor and Construction Manager shall coordinate and schedule the work of this Section with the work of other Sections of this Specification in order to optimize quality and to avoid delay in overall job progress.

4.	Prior to starting applicable phases of the work of this Section, Contractor shall cooperate and coordinate with each trade affected by the work of this Section, including areas where work of other Specification Sections joins or relates to work of this Section.  Contractor shall report unsatisfactory or nonconforming conditions to Engineer in writing prior to the start of work.

B.	Qualifications:  Throughout the progress of the work of this section, provide at least one person who shall be thoroughly familiar with the specified requirements, completely trained and experienced in the necessary skills, and who shall be present at the site and shall direct all work performed under this Section.

1.	The steel deck detailing firm shall be subject to acceptance by the Engineer.  As a minimum requirement for acceptance, the steel deck detailing firm shall demonstrate experience in detailing of not less than three similar structures and shall demonstrate internal quality control procedures to the satisfaction of the Engineer.

2.	Erector shall have experience in the erection of composite steel deck for at least three similar structures of the type of this work.

3.	Shear connector installers shall have experience in stud welding through composite metal deck or direct fastening of mechanical shear connectors for at least three similar structures of the type of this work.

4.	Welders and welding operators shall be qualified in accordance with the governing Building Code and with applicable CSA W59 requirements for each specific welding procedure and process which the welder will use in the work.  When requested by the Engineer, Contractor shall require welders to be re-tested.

5.	Direct fastening powder actuated system operators shall be trained and authorized by a manufacturer’s representative. When requested by the Engineer, Contractor shall require operators to be re-tested by the manufacturer representative. The manufacturer representative shall be capable of training and qualifying operators on project site.

C.	Contractor's Responsibilities:  The Contractor shall be solely responsible for the items listed below. While the following list is not intended to be a complete listing of all responsibilities, it is provided to bring these items to the specific attention of the Contractor.  Engineer's review of shop drawings or other submittals, presence or observation at the project site, or performance or waiving of inspection or testing, does not relieve Contractor from these responsibilities.

1.	Design, engineering, construction, safety and adequacy of all steel deck work acting as a concrete form.  Design and construct deck as a form to withstand all imposed forces, including all construction dead and live loads, horizontal loads from equipment and wind and forces due to vibration of plastic concrete.  Provide inspection of all steel deck as a form for conformance with this Specification.

2.	Safety and stability of the work.  Construction sequences, whether stated or implied, are intended only to assist the Contractor in coordinating the work of the project.

3.	Fabrication procedures and the means, methods, techniques, sequences and procedures of construction.

4.	Correctness of dimensions and quantities, for the fitting to other or existing elements, for conditions to be confirmed and correlated at the site, and for the verification of the physical interrelationships of elements of the work.

5.	The amount, method of distribution, and proposed supplemental support of loads during construction.  Construction loads shall not exceed the superimposed load that the member, with necessary supplemental support, is capable of carrying safely without damage.

6.	Obtain all field measurements required for proper fabrication and installation of work covered by this Section.  Precise measurements are the responsibility of Contractor.

7.	Report unsatisfactory or non-conforming conditions to the Engineer in writing prior to the start of work.

1.08	DELIVERIES, STORAGE AND HANDLING:

A.  	Steel Floor Deck:

1.       Do not rack, bend or mar steel roof deck sheets.

- Store steel floor deck sheets and accessories above ground and protected from free weathering with one end elevated.

- Cover and ventilate unpainted or uncoated steel roof deck sheets until final installation.

B.    	Steel Deck Fasteners

1.       Store weld studs, welding electrodes, mechanical fasteners and powder-actuated cartridges in original packages in a cool, dry location until final installation.

- Comply with all project and national safety regulations regarding handling of welding equipment and powder-actuated fastening systems.

- Sidelap Connectors

- Store sidelap connectors in original packages in a cool, dry location until final installation.

1.09	DEFICIENT WORK:

A.	Deficient work or any work failing to strictly conform to the Contract Documents shall be removed and replaced, or repaired if accepted by Engineer, at no cost to the Owner, Architect or Engineer.

1.	Contractor shall prepare appropriate details and procedures to bring such work into conformance with the Contract Documents and submit to Engineer for review and acceptance. All drawings and details of proposed corrective work shall be neatly and clearly drafted in scale clearly identifying location and extend of such work.  Contractor shall, through the Owner, reimburse the Engineer for time and expense incurred reviewing proposal procedures and details in accordance with the Engineer's current fee schedule.

2.	Non-conforming work may be rejected by Owner, Architect or Engineer at any time, regardless of prior acceptance in shop drawings, prior inspection, inclusions in certificates of payment.

B.	Deficient work shall include, but not be limited to:

1.	Bent or warped pieces.

2.	Weld damage to include:

a.	Deck burn through.

b.	Undersized welds.

c.	Damage to structural components.

d.	Damage to deck coating or paint.

3.	Unauthorized cutting.

4.	Surface defects.

5.	Surfaces not sufficiently clean to receive stud shear connector or spray fireproofing.

6.	Workmanship not in accordance with the Drawings, with this Specification, with accepted samples, or with referenced codes or standards.

7.	Exceeding tolerances.

PART 2 – PRODUCTS

2.01	STEEL DECK

- The following are acceptable manufacturers for steel deck.  Other manufacturers will be considered by the Engineer. [Note to Specifier: Edit below as necessary]

- ASC

- Canam

- CSI

- Epic

- New Millenium

- Verco

- Vicwest

- Vulcraft-Nucor

B.	Steel thickness shall be as shown on the Drawings, but not less than required to adequately brace structural steel work during construction and to meet strength and stiffness requirements.  Minimum thickness for a specified gauge shall be as given in Table 17 of ASTM A 525.  Gauge and section properties used in determining stress and deflection shall be calculated in accordance with the CSA S136 Specification.

C.	Geometry and configuration of 2 and 3 inch composite decks shall be nominally symmetric about the neutral axis of its cross section and have an average rib width of 6 inches.

D.	Steel deck units shall be classified by Underwriter's Laboratories, Inc.  Test results shall be based on spray-applied cementitious fireproofing.

E.	Steel for deck units shall conform to ASTM A 653, A 611 Grades C, D or E, or A 1008 with a minimum yield point of 33 ksi.

F.	Galvanizing for deck units and accessories shall conform to ASTM A 924 with a minimum coating class of G60 as defined in ASTM A 653, and conform to UL 209.

2.02	GALVANIZING REPAIR PAINT:

A.	Paint for field touch-up of galvanized deck shall be high zinc-dust content complying with Military Specification MIL-P-21035.

2.03	MISCELLANEOUS STEEL:

A.	Miscellaneous steel shapes and plates shall be ASTM A 36.

2.04	WELDING MATERIALS:

- Material:  Electric shielded arc process using minimum E60XX electrodes in accordance with CSA W59 procedures

- Weld Quality: All welds uniform size and appearance and free of pinholes, porosity, undercutting or other defects

- Weld Size: Minimum 5/8 in. effective diameter

- Weld Washers: Use on steel roof deck thinner than 22 gauge

- Welding materials shall conform to CSA W59.  Use E6010 for welding steel deck to structural steel and for steel deck side laps.

2.05	MECHANICAL FASTENERS

A.	Powder-actuated mechanical fasteners for roof deck and floor deck applications shall have minimum 1/2 inch (12 mm) diameter steel washers, knurled shanks, ballistic points and electroplated zinc coating conforming to ASTM B 633, SC 1, Type III. Powder-actuated mechanical fasteners shall be recognized by ICC-ES AC43, SDI listed and approved by Factory Mutual and Underwriter's Laboratories for wind uplift. Powder-actuated mechanical fasteners shall also be listed by Underwriter's Laboratories for fire resistive steel roof deck assemblies in accordance with TLSX & TGKX designs.

B.	Powder-actuated mechanical fasteners shall be Hilti X-ENP-19 L15 or X-HSN-24 types as recommended by the manufacturer for the application.

C.	Powder actuated mechanical fasteners for 26 or 28 gauge form deck applications shall have nominal 1/2 inch (12mm) diameter steel washer and electroplated zinc coating conforming to ASTM B 633, SC 1, Type III, such as Hilti X-HSN-24 or X-ENP-19 L15.

D.	Self-drilling carbon steel screw mechanical fasteners for roof deck and floor deck applications case hardened to ASTM A510, Grade 1022 with a Zn-Ni coating and shall have a minimum 0.555 inch (14.1 mm) washer head, a 5/16 inch (7.85 mm) hexagonal drive head, a fluted shank that is 1.340 inches (34 mm) long and contains 24 threads per 1 inch (25 mm) length of threaded shaft. The fastener is designed for securing steel deck to steel supporting members having a thickness range of 0.125 to 0.375 in. (3.2 to 9.5 mm).

E.	Self-drilling carbon steel screw mechanical fasteners shall be Hilti S-RT5+M9 screw or S-MD 12-24 x 1-5/8 types as recommended by the manufacturer for the application.

2.06	SHEAR CONNECTORS:

A.	Shear stud connectors shall conform to ASTM A 108, Grade 1015 or 1020, cold-finished carbon steel. Dimensions shall conform to requirements given the CISC Specification.  Welding equipment used for installation shall conform to the requirements of CSA W59

B.	Mechanical shear connectors shall be Hilti X-HVB Shear Connectors installed with Hilti X-ENP-21 HVB powder-actuated fasteners. Unless shown on the contract drawings, the size, number of and location on the beam shall be in accordance with the manufacturer’s published data and supported by test data.

2.07	SIDELAP CONNECTORS:

A.	Sidelap connectors for deck edge laps shall be Hilti S-SLC01 M HWH or S-SLC02 M HWH as recommended by the manufacturer for the application.

2.08	DEFORMED BAR ANCHORS:

A.	Deformed anchor bars welded to structural steel shall be D2L anchors as manufactured by Nelson Stud Division of TRW or other accepted by the Engineer.

2.09	LIP HANGERS:

A.	Lip hangers shall be galvanized, not less than 18 gauge, not less than 2 inches wide, extending 3 inches below the bottom of the deck with a 3/8 inch diameter hole.

PART 3 – EXECUTION

3.01	GENERAL:

A.	Examination of Field Conditions: Contractor shall examine all surfaces and features to which work must be attached or applied, abut or clear and shall verify, by measurements at the project site, all dimensions affecting the work of this Section.  Starting of work shall represent acceptance by Contractor of surfaces, dimensions and conditions as suitable and correct for performing the work as specified.

B.	Field Measurements: Contractor shall verify, by measurements at the site, all existing dimensions that affect the work of this Section.  Field dimensions varying from those on the design drawings or accepted shop drawings shall be brought to the Architect's and Engineer's attention in writing.

3.02	FABRICATION:

A.	Decking:  Deck units shall be factory cut to length and, to the maximum practical extent, shall be continuous over two or more spans.  Provide flush abutting ends for floor decks and 2 inch end laps for roof and form decks.  Interlocking side laps shall be provided for floor decks and shall be tight fitting with a horizontal return on the female side.  Provide 2 inch minimum end bearing on supports for all decks.

- Pour Stops: Fabricate pour stops, ridge plates and saddles from sheet steel, bent plates or rolled steel shapes as required to withstand loads and maintain true lines and tolerances, but not less than 18 gauge thickness.  Fabricate edge members to accommodate facade support system members and fittings.  Galvanize as specified herein.

C.	Closures:  Fabricate metal closure strips of not less than 20 gauge galvanized sheet steel.  Provide closures at columns, openings, perimeters, changes in deck direction, and wherever else required to safely and completely contain and support fresh concrete and construction loads.  Form to achieve tight fitting closures as to avoid loss of concrete fines.

D.	Sumps:  Fabricate roof sump pans from not less than 14 gauge galvanized sheet steel of adequate size to receive roof drains and with bearing flanges not less than 3 inches wide.  Recess pans a minimum of 1-1/2 inches below top of deck.  Holes for drains may be field cut, reinforce deck prior to cutting.

3.03	ERECTION:

A.	General:  Steel deck units, accessories, shear connectors and deformed bar anchors shall be installed in accordance with manufacturer's recommendations, accepted shop drawings, and as specified herein.

1.	Clean surfaces of supporting steel members.  Remove grease, oil, and other deleterious material that may interfere with sound fastening of shear connectors through steel deck and of other fastening of deck units to supports.

2.	Steel deck units shall bear two inches minimum on supporting framework.  Laps of roof decks and centering shall be a minimum of 2 inches and shall occur over supports.

3.	Adjust deck units and accessories to final position and accurate alignment.  Units shall be free from excessive deflection, local distortions and damage when permanently joined into the structure.  Permanently secure deck units prior to their use as storage or working platforms.

4.	Install pour stops and closure strips to form true and straight perimeter and interior edge conditions.  Prevent loss of concrete through gaps and openings at columns and changes in deck direction.  Provide tight fitting closures at open ends of flutes.  Closures shall not reduce concrete volume around shear connectors and shall permit placing of reinforcing bars in the deck flutes.  Upon completion of installation of floor or form deck system, work shall be ready to receive concrete as a suitable form without leaking or loss of concrete fines.

5.	Perimeter edge conditions shall meet required tolerances to accommodate curtain wall support systems and fittings.

6.	Provide metal or tape joint covers at abutting ends of deck.

7.	Locate deck bundles so as to prevent overloading of structure.

8.	Systems shown in the Drawings are based on unshored construction for strength considerations.  Use shores where required for safety to meet specified tolerances or at option of Contractor.

9.	Upon completion steel deck shall be clean, with no rusted or scarred areas on either top or bottom of surfaces.  Dispose of all stud welding ferrules and other debris.  Decking shall be ready to receive concrete without leakage.  Touch-up paint where galvanizing has been scratched or damaged.

B.	Deck Welding: Welding of steel deck shall be in accordance with AWS D1.3 including appearance, quality of welding and corrective methods.  Use only certified welders.

1.	Bring steel deck units into direct contact with steel supporting members prior to and during welding.  Flatten embossments as necessary to provide uniform contact between the steel deck and the face of the supporting steel members prior to stud welding.  Remove moisture prior to welding.

2.	Weld deck units to structural steel supports as noted in the Drawings.  Welds shall be thoroughly fused to the steel deck around the weld perimeter as well as to the supporting steel member.  Shear stud connectors placed on required fusion weld locations may be considered to replace fusion welds.  Where necessary, use welding washers to obtain sound fusion welds.

3.	Sump pans shall be welded to the top of deck with welds in each corner and at 12 inch maximum spacing along sides.

C.	Mechanical Fastening: Direct fastening of steel deck shall be in accordance with manufacturer’s instructions including appearance and quality of fastening of the steel deck. Use only certified or licensed powder-actuated fastening system operators.

1.	Bring steel deck units into direct contact with structural steel supporting members or steel bar joists prior to and during powder-actuated mechanical fastening.  Moisture may be present on deck surface during powder-actuated mechanical fastening.

2.	Fasten steel deck units to structural steel supports or steel bar joists as noted in the Drawings.  Powder-actuated mechanical fasteners shall achieve adequate penetration of the steel deck and supporting member in accordance with manufacturer instructions.  Powder-actuated mechanical fasteners shall be appropriately gauged to the base material thickness and hardness prior to final fastening.  Mechanical shear connectors placed on mechanical fastener locations may be considered to replace those fasteners.

D.	Side Lap Connectors: Sidelaps of adjacent floor and roof deck units shall be fastened by one of the following means:

1.     	Mechanical Sidelap Connectors.  Mechanical sidelap connectors shall be Hilti SLC01 M HWH or S-SLC02 M HWH types as recommended by the manufacturer for the application.

2.     	Self-Drilling Metal Screws at 18 inch maximum spacing.

3.		3/8 inch x 1-1/4 inch arc seam welds at 36 inch maximum spacing.

4.		Standard or proprietary button punching at 24 inch maximum spacing.  To be acceptable, button punching shall provide tight interlocking between sections which effectively prevents differential displacement between adjacent units both longitudinally and vertically.

5.		At cantilever spans, fasten side laps 3 inches from end and at 12 inch maximum spacing.

6.		Use closer spacing than specified herein on any spans as required for erection diaphragm forces or to prevent differential deflection of adjacent edges under fresh concrete or for other construction loads.

E.	Stud Welding: Welding of all stud shear connectors and deformed anchor bars shall be done by means of automatically timing stud welding equipment in accordance with CSA W59

1.	Stud shear connectors shall not be manually fillet welded except where specifically permitted by the Engineer in writing.

2.	Shear connector quantities shown in the Drawings are based on full connector value per CISC. Should deck geometry and/or configuration reduce the full connector value, Contractor shall provide additional shear connectors to restore the capacity called for in the Drawings, at no cost to the Owner.

3.	Stud weld field-applied deformed anchor bars in strict accordance with the manufacturer instructions.  Prepare structural steel surfaces as recommended.  Manual fillet welding is strictly prohibited.

4.	Stud welding operators shall remove ferrules from all stud welds and visually inspect their own work.

F.	Reinforcement of Openings in Deck: Provide reinforcement around openings as shown in the Drawings and in accepted shop drawings.  Unframed openings larger than 6 inches shall be reinforced as shown on the Drawings or as necessary, but not less than:

1.	Openings 6 to 12 inches - 16 gauge flat sheet, extending 6 inches beyond hole in all directions, welded to top of deck.

2.	Openings 12 to 18 inches - 1-3/4 x 1-3/4 x 3/16 inch angle perpendicular to ribs of deck at each end of hole extending 16 inches beyond hole and welded to top side of deck.

END OF SECTION